EUCOPOXY TUFCOAT VOX

EUCOPOXY TUFCOAT VOX is a two-component, water-based, low-odor, epoxy-polyamide coating. It acts as a tough, abrasion-resistant membrane that withstands wear and chemical attack in a variety of applications. EUCOPOXY TUFCOAT VOX should be used in many areas where a solvent-based product is not permitted. EUCOPOXY TUFCOAT VOX comes in a variety of colors and provides a semi-gloss finish.

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, project’s General Structural Notes or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the particular requirements of the project at hand, assure compliance with any governing building codes, and coordinate with other specification sections and drawings. In no case shall these Guide Specifications be considered to be Contract Documents or serve as installation instructions for the product being discussed. In any cases of discrepancy the manufacturer's most recently published data sheet shall take precedent.}

PART 1	GENERAL

{Note to Specifier: Euclid Chemical recommends that the following language be added to Part 1 of your specification section discussing Resinous Flooring.}

1.01	QUALITY ASSURANCE

A.	Obtain primary resinous flooring materials, including primers, from resinous flooring manufacturer. Obtain secondary materials including aggregates, sheet flashings, joint sealants, and substrate repair materials of type and from source recommended by resinous flooring manufacturer.

1.	Resinous flooring manufacturer shall have ISO 9001 Quality Certification.

- B.	Resinous Flooring Mock-Up:

- Prior to commencing resinous flooring application, prepare a minimum <<insert size>> full scale, reference mock-up of each type, [and][color][and][texture] of resinous flooring surface for approval by Owner. Said reference mock-up shall be constructed in location designated by owner/architect, using the same equipment, tools and methods for installing all materials as will be used for the remaining work to be performed.

- Once accepted by owner or owner’s representative, mock-up is to remain, and is to be protected from damage. It shall become the standard for acceptance of color and texture for resinous flooring applications.

- When Architect determines that mockup does not meet requirements, demolish and remove it from the site and cast another until the mockup is accepted.

- 1.02	PROJECT CONDITIONS

- A.	Environmental Limitations: Apply resinous flooring within the range of ambient and substrate temperatures recommended in writing by manufacturer. Do not apply resinous flooring to damp or wet substrates, when temperatures are below 50 deg F (5 deg C), when relative humidity exceeds 70 percent, or when temperatures are less than 5 deg F (-15 deg C) above dew point.

- 1.	Coordinate flooring work with other trades to ensure adequate illumination, ventilation, and dust free environment during application and curing of flooring.

- B.	Conditions for Concrete

- {Note to Specifier: New concrete slabs on grade to to receive resinous floor coating should be poured over heavy duty, uninterrupted, properly installed, vapor barrier.}

- {Note to Specifier: :  Moisture retaining cover cure is to be removed after seven days to allow the concrete to air dry prior to flooring installation.}

- 1.	New concrete shall be cured a minimum of 7 days, and in place a minimum 28 days before proceeding.

- 2.	Any cementitious repair mortars must have a full 7-day cure prior to coating.

3.	Do not apply resinous floor coatings if there is excessive moisture in the concrete or if the moisture vapor emission rate (MVER) is high.

a.	Prior to application of resinous coating, perform either of these tests: ASTM F2170 - Standard Test Method for Determining Relative Humidity in Concrete Floor Slabs Using In-Situ Probes, or ASTM F1869 - Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride. If the relative humidity is 70% or greater, or the MVER is 3 lbs/1000 ft2 /24 hrs

or greater notify Architect in writing and contact manufacturer for recommendations.

- 4.	Examination:

a.	Prior to commencement of resinous floor system application examine substrates, with Applicator present, for compliance with requirements and for other conditions affecting performance of resinous flooring.

- For the record, prepare written report, endorsed by Applicator, listing conditions detrimental to performance.

c.	Verify compatibility with and suitability of substrates.

d.	Contractor must report, in writing, surfaces left in improper condition by other trades. Application of coating indicates acceptance of surfaces and conditions.

PART 2.0	PRODUCT

2.01	RESINOUS FLOOR SYSTEM

A.	Epoxy Floor Coating: (2) component, water based, epoxy floor coating with the following characteristics;

1.	Minimum Solids Content: 56%

2.	VOC Content: <125 g/l

4.	Product:

- Euclid Chemical Company (The); Eucopoxy Tufcoat VOX www.euclidchemical.com

- Color: [To be chosen from manufactures list of standard colors][Black][Tan][Clear Amber][Concrete Gray][White Light  Reflective][Tile Red]

{Note to Specifier: In areas subject to sunlight or high intensity artificial light color stability can be improved by applying a top coat of one of Euclid Chemical’s high quality urethane coatings in a color to match the base coat.

[B.	Resinous Floor System Top Coat: Utilize urethane coating recommended by resinous floor system base coat manufacturer.]

PART 3.0	EXECUTION

3.01	SURFACE PREPARATION

- A.	Clean and mechanically prepare substrates according to manufacturer’s written recommendations to produce clean, sound, dust-free, dry, absorptive substrate free of grease, oils, curing compounds and other contaminants which may interfere with bond of resinous flooring. Surface profile should be equal to CSP 2 to 5 in accordance with ICRI Guideline 310.2.

{Note to specifier: The strength of the prepared concrete surface can be tested. Insert the following sub paragraph if quantitative results are required.}

1.	[Following surface preparation the cleaned concrete floor shall be tested for compliance with the following:]

- [Minimum surface tensile strength of 250 psi when tested with a “Elcometer” or similar pull tester per ASTM D 4541.]

- 2.	Begin resinous flooring application only after minimum concrete curing and drying period recommended by resinous flooring manufacturer has passed, after unsatisfactory conditions have been corrected, and after surfaces are dry

- B.	Prepare vertical and horizontal surfaces at terminations and penetrations through resinous flooring and at expansion joints, drains, and sleeves according to manufacturer’s written recommendations

- C.	Mask adjoining surfaces not receiving resinous flooring, drains, and other substrate

- penetrations to prevent spillage, leaking, and migration of coatings.

3.02	RESINOUS FLOOR SYSTEM APPLICATION:

- A.	Resinous Floor System Monolithic Coating Application:

- 1.	Mechanical Mixing- Coating and primers shall be thoroughly mixed with a mechanical drill with a manufacturer approved mixing blade.  Premix individual components separately per manufacturer’s recommendations then combine materials and mix per manufacturers recommendations. Bottom and sides of container may be scraped during mixing but shall not be scraped once mixing has ceased. Do not aerate material.

2.	Epoxy Floor Coating: Apply uniform application of properly mixed urethane floor coating to floor per manufacturer’s written recommendations at recommended coverage rates. Allow 4 to 6 hours but no more than 24 hours before applying additional coats. [Repeat for second coat.]

{Note to Specifier: The paragraph below discusses the resinous floor system top coat. In areas subject to sunlight or high intensity artificial light color stability can be improved by applying a seal coat of one of Euclid Chemical’s high quality urethane coatings in a color to match the base coat.

[3.	Resinous Floor System Top Coat Application: Apply uniform application of properly mixed resinous floor system top coat per manufacturer’s written recommendations at manufacturer’s recommended coverage rate. Apply to tack free surface no more than 24 hours after application of previous coat.]

{Note to Specifier: Depending on the specific project, correct implementation of other application details, such as floor terminations, floor/drain detail, etc. may be required. For further information contact Euclid Chemical Technical Support at (800) 321-7628.}

- 3.03	CURING AND PROTECTING

- A.	Prevent contamination and damage during application and curing stages.

- B.	Protect resinous flooring from damage and wear during remainder of construction period.

- END SECTION