CONCRETE SURFACE RETARDERS FORMULAS

Surface Retarder for Exposed Aggregate Horizontal Concrete

{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 and 3 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:	PRODUCTS

2.__	PRODUCTS

A.	Surface Retarder for Exposed Aggregate Horizontal Concrete:  Sprayed onto surface.

1.	Product:

a)	Euclid Chemical Company (The); Concrete Surface Retarders Formula S, www.euclidchemical.com

2.__	MANUFACTURER

A.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all products shall be from the same manufacturer.

PART 3:	EXECUTION

3.__	SURFACE RETARDER APPLICATION

A.	Apply surface retarder and remove surface mortar per manufacturer’s written recommendations.