GUIDE SPECIFICATION

EUCOFLOOR 202

Wear, Impact and Abrasion Resistant Floor Topping

EUCOFLOOR 202 is a high strength, natural aggregate floor topping. The product is used in areas subject to moderate wear, impact, and abrasion. EUCOFLOOR 202 consists of natural aggregates combined with a high-strength cement-based mortar. The product was developed specifically for moderate abrasion applications and is designed for waste transfer station tipping floors. The floor may be returned to light wear service within 48 hours of topping placement, at 70°F (21°C). Placement depths from 1” to 2” neat and up to full depth when extended with pea gravel.

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, project’s General Structural Notes or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the particular requirements of the project at hand, assure compliance with any governing building codes, and coordinate with other specification sections and drawings. In no case shall these Guide Specifications be considered to be Contract Documents or serve as installation instructions for the product being discussed. In any cases of discrepancy the manufacturer's most recently published data sheet shall take precedent.}

PART 1.0	GENERAL

1.01 	RELATED WORK:

A. 	Joint Fillers – Eucolastic, Tammsflex, Dural 340, Qwikjoint UVR

B. 	Concrete Repair:

1. 	Vertical and Overhead: Euco V-100, Tamms Structural Mortar

2. 	Horizontal: Express Repair, VersaSpeed

3. 	Form and Pour: Eucocrete

C. 	Crack Repair/Injection: Dural 452 LV, Dural Fast Set Epoxy Gel

D. 	Bonding Agents: Eucoweld 2.0, Duralprep A.C., Dural 452 MV, EucoFloor Epoxy Primer

E. 	Waterproofing/Dampproofing : Tamoseal, Vandex Super, Hey’Di K-11, Vandex BB75

F. 	Architectural Coatings: Tammscoat, Tammolastic

G. 	Anti-Graffiti Coatings:  AG 100, AG-400,

H. 	Traffic Deck Coatings: Tammsdeck, Flexdeck

I. 	Decorative Floor Coatings: Duraltex

J. 	Epoxy Chemical Resistant Coatings: Duralkote 240, Duralkote 500, Duraltex 1705/07, Duraltex 1805/07

K. 	Penetrating Water Repellents:

1. 	Horizontal and Vertical: Baracade Silane 40 WB, Baracade WB 244, Baracade 100C, Baracade Silane 40 IPA,

2. 	Vertical: Chemstop WB Regular/Heavy Duty

L. 	Penetrating Epoxy Sealer: Euco #512 VOX Epoxy Sealer

M. 	Cathodic Protection: Sentinel Galvanic Anodes

PART 2.0	PRODUCTS

2.__	BONDING AGENT/PRIMER

2.__	BONDING AGENT/PRIMER

A.	Epoxy Bonding Agent: 100% reactive, dual component, medium viscosity, moisture insensitive epoxy bonding agent with the following properties:

1.	Tensile Strength minimum of 7,780 psi (53.6 MPa) at 7 days per ASTM D638

2.	Bond Strength (Sand Saturated) minimum 2,400 psi (16.5 MPa) at 2 days and minimum 2,700 psi (18.6 MPa) at 14 days per ASTM C882.

3.	Basis of Design Product:

a.	Euclid Chemical Company (The); EucoFloor Epoxy Primer www.euclidchemical.com

2.__	CEMENTITIOUS REPAIR MORTAR

A.	Wear, Impact and Abrasion Resistant Topping for Placement Depths from 1” to 2” neat and up to Full Depth extended: Cement-based, one component, high-strength, impact and abrasion resistant cementitious topping for interior or exterior use. Material shall have the following properties neat:

1.	Compressive Strength minimum 4,000 psi (27.6 MPa) at 1 day and minimum 6,000 psi (41.4 MPa) at 7 days and minimum 10,000 psi (68.9 MPa) at 28 days per ASTM C 109, 2” (5.1 cm) cubes.

2.	Compressive Strength minimum 6000 psi (41.4 MPa) at 7 days and minimum 8000 psi (55.1 MPa) at 28 days per ASTM C39, 4”x8” (10x20 cm) cylinders

3.	Chloride Permeability maximum 750 coulombs per ASTM C 1202

4.	Linear shrinkage maximum of -0.05% at 28 days per ASTM C157

5.	Basis of Design Product:

- Euclid Chemical Company (The); EUCOFLOOR 202,  www.euclidchemical.com

B.	Manufacturer shall have ISO 9001 Quality Certification.

C.	To ensure compatibility bonding agent, evaporation retarder and curing compound shall be from same manufacturer as repair mortar.

2.___	CURING

A.	Evaporation Retarder: Waterborne, monomolecular film forming, evaporation retarder manufactured for application to fresh concrete.

1.	Basis of Design Product:

a.	Euclid Chemical Company (The); EUCOBAR, www.euclidchemical.com

B.	Curing and Sealing Compound: Provide high-solids curing and sealing compound in conformance with ASTM C1315.

1.	Basis of Design Product:

a.	Euclid Chemical Company (The); SUPER DIAMOND CLEAR VOX, www.euclidchemical.com.

PART 3.0	EXECUTION

3.___	SURFACE PREPARATION

A.		Concrete Removal: Remove all loose and unsound concrete per recommendations of ICRI Guideline 310.2R “Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings, Polymer Overlays and Concrete Repair”

1.	Areas to receive topping shall have perimeter boundaries saw cut to minimum depth of 1” inch or less if such depth will cause saw to come in contact with embedded reinforcing steel.  Saw cuts shall be made perpendicular to the concrete surface and all concrete removal boundaries shall be straight and aligned parallel to opposite boundary edges resulting in repair areas that are rectangular in shape. The aspect ratio of the repair area shall be as square as possible, not exceeding 1.5:1. Odd shapes shall be avoided. If they cannot be avoided, re-entrant corners shall be mitered or reinforced to limit cracking at these locations.

a.	Extend repair boundaries to beyond corrosion on reinforcing bars.

b.	Do not allow saw to come into contact with reinforcing steel.

2.	All concrete shall be removed from within topping boundary to a uniform depth. Depth of removal shall be as required to accommodate manufacturer’s recommended minimum and maximum placement depth range for specified repair mortar and as required to remove all delaminating, cracking or unsound materials. Provide a sound surface with suitable profile for bond, as defined in repair mortar manufacturer’s written recommendations.

B.        Preparing Reinforcing Steel: Clean and prepare any exposed embedded reinforcing steel per recommendations of ICRI Guideline 310.1R. “Guideline for Surface Preparation for the Repair of Deteriorated Concrete Resulting from Reinforcing Steel Corrosion”

1.	Where ½ or more of diameter of reinforcement steel is exposed either by existing conditions or concrete removal, bond between the concrete and reinforcing steel is broken, or corrosion is present, the concrete shall be removed to provide a minimum ¾” clearance around entire perimeter of steel and along entire exposed length.

2. 	Remove concrete fragments, corrosion product, mill scale, and other contaminants from reinforcing bars in accordance with SSPC-SP 6 until a bare metal finish has been achieved on the reinforcing bars.

a.	Where section loss on a reinforcing bar is more than <<insert number>>%, or <<insert number>>% in two or more adjacent bars contact Engineer.

b.	Any damage to epoxy-coated reinforcement shall be repaired by coating with an approved epoxy-coating repair material.

C.	Remove bruised concrete substrate weakened by microcracking by abrasive blasting or high-pressure water blasting with or without abrasive.

D.	Concrete Preparation and Cleaning: Areas to receive concrete repair shall be structurally sound and free from deteriorated concrete, dust, dirt, debris, loosened concrete and aggregates, bruised concrete substrate weakened by microcracking, paint, oil, efflorescence, laitance, and other contaminants, and shall have a minimum Concrete Surface Profile CSP equal to that recommended by the repair mortar manufacturer per ICRI Guideline 310.2.

3.___	BONDING AGENT APPLICATION

A.	Prior to placing epoxy primer perform moisture vapor transmission test per ASTM F-1869 Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Sub-floor Using Anhydrous Calcium Chloride or ASTM F2170 Standard Test for Determining Relative Humidity in Concrete Floor Slabs Using In-Situ Probes. Moisture vapor transmission shall be less than 3 lbs. per 1,000 sq.ft. per ASTM F1869 or RH shall be less than 70 percent per ASTM F2170 in order to proceed.

B.	Mix and place epoxy primer in accordance with manufacturer’s written instructions.

C.	Broadcast manufacturer’s recommended aggregate into wet epoxy to rate of refusal. All aggregate must appear dry on surface. Damp areas shall continue to have aggregate broad cast until aggregate appears dry.

D.	Allow epoxy to dry per manufacturer’s published recommendations and remove excess aggregate.

3.___	CEMENTITIOUS TOPPING APPLICATION:

A.	Mix and install wear resistant topping per manufacturer’s published instructions.

1.	Minimum depth [1] <<insert depth>>”.

B.	Flow the wear resistant topping material onto the primed floor and move it into place with shovels and concrete rakes. Use a light-duty vibratory or roller screed for large placements.

C.	Immediately after screeding, apply a coat of specified evaporation retarder per manufacturer’s published instructions. Once the material is in place, float the surface to a smooth finish.

1.	Do not apply hard steel trowel finish.

D.	Once the material has sufficiently cured, saw cut it accordingly.

1.	Saw cuts and joints in the underlying substrate shall be honored up through the topping.

3.___	CURING

A.	Immediately after final finishing operations when such operations will not mar or damage surface, apply specified liquid curing compound per manufacturer’s written instructions at a coverage rate of 250 to 300 square feet per gallon.

1.	In hot, windy or direct sunlight conditions rewet the surface after curing compound has dried and cover with polyethylene moisture retaining cover for a minimum of 3 days in accordance with ACI 308.1

END GUIDE SPEC