

**DURAL AQUA-DAM LV**

*DURAL AQUA-DAM LV is a low viscosity, hydrophobic polyurethane compound that is injected into hairline cracks in concrete and other sound substrates to stop water from entering into occupied or unwanted places. The reaction time of the DURAL AQUA-DAM LV is controlled through the use of its accelerator, known as DURAL AQUACCELERATOR. DURAL AQUA-DAM LV forms a water tight seal within the substrate that remains even if the water subsides.*

Note: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, the General Structural Notes, or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings. In no case shall these Guide Specifications be considered to be Contract Documents or serve as installation instructions for the product being discussed. In any cases of discrepancy the manufacturer's most recently published data sheet shall take precedence.

This document contains hidden text. View with hidden text shown.

03 65 00 CHEMICAL GROUT INJECTION OF CRACKS IN CONCRETE

PART 1 GENERAL

1.01 RELATED WORK:

*Insert section number below if chemical grouting is being performed in conjunction with concrete repair. Contact Euclid Chemical for assistance in creating a concrete repair specification.*

A. Section ***<<insert section>>*** Concrete Repair

1.02 QUALITY ASSURANCE

A. Installer Qualifications: Experienced installer who has successfully completed 5 jobs of similar size and scope in the prior 5 years.

1.03 QUALITY ASSURANCE

A. Chemical Grout manufacturer must have ISO 9001 Quality Certification.

1.04 SUBMITTALS

*Insert section number below.*

A. Comply with Section **<<insert section>>** Submittal Procedures.

B. Product Data: Submit manufacturer’s product data including surface preparation installation, and curing instructions for each type of product indicated.

PART 2: PRODUCT

2.01 CHEMICAL GROUT

A. **Hydrophobic Polyurethane Chemical Grout:** Provide low viscosity, hydrophobic, polyurethane chemical grout formulated to be injected into concrete cracks or joints for the purpose of forming a water tight seal.

1. ASTM D 638: 48 percent Elongation

2. ASTM D 1638,Viscosity @ 77 degrees F (25 degrees C): 100 cps

3. ASTM D 2842: Water Absorption < 1 percent by Volume

4. ASTM D 638: Tensile Strength, 25 psi

5. **Basis of Design Product:**

**a. Dural Aqua Dam LV with Dural AquaAccelerator by The Euclid Chemical Co. www.euclidchemical.com**

PART 3: EXECUTION

3.01 SURFACE AND CRACK PREPARATION

A. Surface and Crack Preparation: Utilizing proper means, clean exterior of surface so that full extent of crack can be seen.

B. Layout alternating hole locations on either side of crack, running full length of crack. Space holes running parallel to crack at a distance equal to thickness of concrete being injected. Place holes at a proper distance from crack or joint so that a hole drilled at a 45 degree angle will intersect crack at mid-point of concrete thickness.

1. Adjust hole layout as necessary to assure that drilling operations do not come into contact with existing reinforcing steel or other embedded items.

C. Drill 5/8 inch (16mm) holes at 45 degrees to intersect the crack at mid-point of the concrete thickness. Ensure that drill bit is long enough to intersect the crack.

D. Clear drilled holes of all dust, debris and laitance.

E. Install 5/8 inch (16mm) injection packers into holes and tighten.

F. Inject water through packers. Ensure that water injected into packers is flowing through holes and crack and ensure that packers are not leaking.

G. In cases where drilling holes at an angle will result in chipping or breaking of the concrete, holes may need to be drilled directly into face of crack. In such cases distance between holes is to be equal to concrete thickness and hole depth should be one half of the concrete thickness.

3.02 CHEMICAL GROUT INJECTION

A. Mix chemical grout components in accordance with manufacturer’s written instructions.

B. Grout Injection: Install and inject components in accordance with manufacturer’s written instructions. Once injection packers have been set and drilled holes and crack have been flushed out with water, start at lowest point (vertical surfaces) of crack and work upwards. Pump polyurethane grout into packer until foaming material exudes out face of crack and starts to approach next packer. Switch to next packer and continue in this manner until entire crack has been filled with chemical grout.

C. For large cracks and joints, oakum rope or a similar open-celled structure material can be used to soak in chemical grout and then placed into crack or joint.

D. Once chemical grout has cured, remove packers or cut-off, flush with surrounding surface. Cut back any chemical grout that has cured outside of face of crack with a margin trowel or similar scraping tool. Fill packer holes in accordance with manufacturer’s instructions and finish as specified.

3.03 CLEAN UP

A. Use all appropriate protective equipment. Avoid contact with active grout. Use chemical grout manufacturer’s recommended pump rinse material to clean out the lines of the injection equipment

END OF SECTION