AEA-92

Air Entraining Agent

{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:	PRODUCTS

2.__	ADMIXTURES

A.	Air Entraining Agent: ASTM C 260, Corps of Engineers CRD C-13, AASHTO M 154, and ANSI/NSF STD 61.

1.	Product:

- Euclid Chemical Company (The); AEA-92, www.euclidchemical.com

2.__	CONCRETE MIXTURES

A.	Air Content: [    ] percent plus or minus 2.0 percent at point of delivery.

2.__	MANUFACTURER

A.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all admixtures shall be from the same manufacturer.