PLASTOL AMP-X2

Workability Enhancing Admixture

{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:	PRODUCTS

2.__	ADMIXTURES

A.	Workability Enhancing Admixture: Aids in maintaining a consistent slump and flow over an increased time period. Meets ASTM C 494 Type S and contains no added chlorides.

1.	Product:

a)	Euclid Chemical Company (The); Plastol AMP-X2, www.euclidchemical.com

2.__	MANUFACTURER

A.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all admixtures shall be from the same manufacturer.