PLASTOL SPC

High Range Water Reducer - Superplasticizer

{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:	PRODUCTS

2.__	ADMIXTURES

A.	High Range Water Reducer - Superplasticizer: ASTM C 494 Type A & F, AASHTO M 194, and containing no added chlorides.

1.	Product:

a)	Euclid Chemical Company (The); Plastol SPC, www.euclidchemical.com

2.__	MANUFACTURER

A.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all admixtures shall be from the same manufacturer.